**Section 08 31 00**

**Access Door**

**Milcor™ Series UFR DW – Fire-Rated Access Door**

1. **GENERAL**
   * + 1. RELATED DOCUMENTS
          1. All of the Contract Documents, including General and Supplementary Conditions and Division 01 General Requirements, apply to the work of this Section.
       2. SCOPE
2. Section Includes: Furnishing and installing factory-fabricated fire-rated or non-rated architectural grade access doors.
3. Related Sections: Other specification sections which directly relate to the work of this section include, but are not limited to, the following:

Division 3 - Concrete

Division 4 - Masonry

Division 9 - Finishes

Division 15 - Mechanical

Division 16 - Electrical

* + - 1. SYSTEM DESCRIPTION

1. **Milcor™** - Fire-Rated Access Door with integrated drywall bead – **Series UFR DW**
   * + 1. SUBMITTALS
          1. Product Data: Submit manufacturer’s product data.
          2. Shop Drawings:

Door and panel units: Show types, thickness of metals, full size profiles of door members.

Hardware: Show materials, finishes, locations of fasteners, types of fasteners, locations and types of operating hardware, and details of installation.

General: Show connections of units and hardware to other Work.

* + - * 1. Warranty: Submit executed copy of manufacturer’s standard warranty.
      1. QUALITY ASSURANCE
         1. Manufacturer Qualifications: A minimum of 5 years experience manufacturing similar products.
         2. Installer Qualifications: A minimum of 2 years experience installing similar products.
         3. Materials: For each type of material required to complete the work of this section, provide primary materials which are the products of a single manufacturer.
         4. Pre-Application Conference (as needed): A pre-application conference shall be held to establish procedures and to review conditions, installation procedures and coordination with other related work. Meeting agenda shall include review of the special details.
      2. DELIVERY, STORAGE AND HANDLING
         1. Deliver products in manufacturer’s original unopened packaging.
         2. Store materials in a dry, protected, well-vented area.
         3. Inspect product upon receipt and report damaged material immediately to delivering carrier and note such damage on the carrier’s freight bill of lading.
      3. WARRANTY
         1. **Milcor™** warrants that the Access Doors ("Product ") are free from manufacturing defects at the time of sale. **Milcor™** further warrants the Product will not prematurely deteriorate because of w weathering for a period of one (1) year from date of sale. This Product Warranty applies only to the Product and does not apply to labor, materials or construction details. If upon inspection by **Milcor™** the Product is found to be defective, **Milcor™** may provide a replacement Product or a substitute at its’ sole discretion.

1. **PRODUCTS**
   * + 1. MANUFACTURER
          1. Provide **Milcor™** Access Doors as manufactured by:

**Milcor™** Company

5030 Corporate Exchange Blvd. SE

Grand Rapids, MI 49512

Phone: 800-624-8642

Fax: 855-549-2674

Email: info@milcorinc.com

Website: http://www.milcorinc.com

* + - 1. ACCESS DOOR
         1. Ordering Sequence: *Model Number, Series (****UFR DW****), Size: Width (\_\_\_) x Length (\_\_\_).* Length denotes hinge side. The access door shall be single leaf. The door shall be pre-assembled from the manufacturer.
         2. Materials:

Door: 20 ga. cold rolled steel sandwich panel with 2” mineral fiber insulation.

Frame: 16 ga. cold rolled steel, 4-piece frame with galvanized steel drywall bead, masonry anchors.

Hinge: 18 ga. continuous piano hinge with stainless steel pin.

Closer: Coil spring self-closing.

Latch: Self-latching paddle latch and locking system with key operated cylinder lock furnished with two keys and interior release mechanism; (1) per door for sizes below 36”; (2) per door for sizes 36” - 48”.

Finish: Powder coat - White.

* + - * 1. Options

Door: 20 ga.Type 304 Stainless Steel No. 3 finish (36” maximum dimension).

Frame: 16 ga.Type 304 Stainless Steel No. 3 finish (36” maximum dimension).

Latch: Mortise lock.

Finish: Powder coat colors - Gray, Golden Sand and Jet Black.

* + - * 1. Rating:

Code approved for both walls and ceilings.

Carries both UL and CUL 1½ -hour, Class B fire rating; meets UBC, IBCO and BOCA codes for two hour rated walls.

Warnock Hersey Label for three-hour noncombustible ceiling systems.

UL Certified: 250° F temperature rise protection for cold rolled steel; 450° F temperature rise protection for stainless steel.

**Some sizes are rated for wall application only.**

1. **EXECUTION**
   * + 1. INSPECTION
          1. Verify by comparing packing slip and box label that product is per specification.
          2. Verify that the substrate is dry, clean, and free of foreign matter and in compliance with requirements for installation tolerances and other conditions affecting performance. Report and correct any defects prior to any installation.
          3. Proceed with installation only after unsatisfactory conditions have been corrected.
       2. SURFACE PREPARATION
          1. Refer to manufacturer’s product literature for surface preparation requirements. Surfaces should be structurally sound, free of voids, spalls, loose aggregate and sharp ridges. Remove dust, dirt, debris or any other foreign materials.
       3. INSTALLATION
          1. Verify that **Milcor™** Access Door installation will not disrupt other trades
          2. Install access doors in strict accordance with manufacturer’s instructions and approved submittals.

Test units for proper function and adjust until proper operation is achieved.

Repair finishes damaged during installation.

Restore finishes so no evidence remains of corrective work.

* + - 1. ADJUSTING AND CLEANING
         1. Product requires no spill or leak containment.
         2. Remove and replace access doors with damage, bowing, or warping that interferes with the installation or functionality of product. Dispose of damaged material in accordance with all governmental regulations.
         3. Clean exposed surfaces using methods acceptable to the manufacturer which will not damage finish.
         4. Protect completed work from subsequent construction activities as recommended by manufacturer.

END OF SECTION